## Slide 1: Relative Intensity Noise measurement
Minh Tran
09/30/2014

## Slide 2: Definition of RIN
Ratio of the mean-square optical intensity noise (in a 1 Hz bandwidth) to the square of the average optical power
Photodetector converts optical power to current, electrical power shown in the spectrum analyzer is proportional to the current squared. Therefore:
where N is the PSD at a specific frequency, P is the average power of the photocurrent.

## Slide 3: Schematic RIN measurement set up
Measure average power
Dealing with noises

## Slide 4: Noise analysis
Light source intensity noise
Shot noise power (/Hz)
Thermal noise power (/Hz)
Total noise
RIN laser

## Slide 5: In practice
Launch the RINLaser mode
(USER -> RINLaser)
MATLAB codes to run the sweeps and collect data from the equipment (attached file)
noise(i,:)=str2num(query(ESA,'RIN?'));

## Slide 6: RIN measurement equipment
HP 70810B Lightwave section
HP 70300/1 A Tracking generator
HP 70908A
RF section
HP 70900B
Local oscillator
HP 70902/3 A IF
HP 70004A
Display

## Slide 7: Measurement limits of RIN laser
When the limit is encountered, there is a superscript “+” symbol displayed after the RIN laser value
Table below is just for reference